{"text_format":"3","workbook":"xls","n_sheets":8,"sheets":["1.1 A.1 招标工程量清单封面","1.2 B.1 招标工程量清单扉页","3.1 E.1 分部分项工程量清单计价表(所有标题)","3.2 附录F 措施项目清单计价表","3.3 附录G 不可竞争项目清单与计价表","3.4 H.1 其他项目清单与计价汇总表","3.5 附录I 税金计价表","3.6 J.3 承包人提供材料（工程设备）一览表"],"not_rendered":{"external_links":1,"defined_names":6},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1.1 A.1 招标工程量清单封面","index":0,"n_rows":16,"n_cols":9,"rows_kept":16,"merged":[[2,2,2,8],[4,1,5,7],[4,8,5,9],[8,0,8,10],[10,3,10,4],[10,5,10,6],[11,5,11,6],[14,3,14,4],[14,5,14,6],[15,5,15,6],[18,4,18,5]],"flags":["formulas_cached_only"]}
[]
[]
[null,null,"A.1 招标工程量清单封面"]
[]
[null,"凡尔赛公馆充地下人防电桩工程",{"$nulls":6},"工程"]
[]
[]
[]
["招标工程量清单"]
[]
[{"$nulls":3},"招  标  人："]
[{"$nulls":5},"（单位盖章）"]
[]
[]
[{"$nulls":3},"造价咨询人："]
[{"$nulls":5},"（单位盖章）"]

{"sheet":"1.2 B.1 招标工程量清单扉页","index":1,"n_rows":18,"n_cols":9,"rows_kept":18,"merged":[[1,4,1,8],[3,2,3,7],[3,8,3,9],[5,0,5,11],[7,1,7,2],[7,3,7,4],[7,7,7,10],[8,3,8,4],[8,7,8,10],[10,1,11,2],[10,3,11,4],[10,6,11,6],[11,7,11,10],[12,3,12,4],[12,7,12,10],[14,1,14,2],[14,3,14,4],[14,7,14,10],[15,3,15,4],[15,7,15,10],[17,1,17,2],[17,3,17,4],[17,7,17,10]],"flags":["formulas_cached_only"]}
[]
[{"$nulls":4},"B.1 招标工程量清单扉页"]
[]
[null,null,"凡尔赛公馆充地下人防电桩工程",{"$nulls":5},"工程"]
[]
["招标工程量清单"]
[]
[null,"招  标  人：",{"$nulls":4},"造价咨询人："]
[{"$nulls":3},"（单位盖章）",{"$nulls":3},"（单位资质专用章）"]
[]
[null,"法定代表人\n或其授权人：",{"$nulls":4},"法定代表人\n或其授权人："]
[]
[{"$nulls":3},"（签字或盖章）",{"$nulls":3},"（签字或盖章）"]
[]
[null,"编  制  人：",{"$nulls":4},"复  核  人："]
[{"$nulls":3},"（造价人员签字盖专用章）",{"$nulls":3},"（造价工程师签字盖专用章）"]
[]
[null,"编 制 时 间：",{"$nulls":4},"复 核 时 间："]

{"sheet":"3.1 E.1 分部分项工程量清单计价表(所有标题)","index":2,"n_rows":20,"n_cols":11,"rows_kept":20,"merged":[[0,0,0,10],[1,0,1,4],[1,0,1,8],[1,0,1,10],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,10],[3,6,4,6],[3,7,4,7],[3,8,3,10],[19,2,19,10]],"flags":["formulas_cached_only"]}
["E.1 分部分项工程量清单计价表",null,null,"","","","","","","",""]
["工程名称：凡尔赛公馆充地下人防电桩工程",null,null,"","","","","","","",""]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）","","","",""]
[{"$nulls":3},"","","","综合单价","合价","其中","",""]
[{"$nulls":3},"","","","","","定额\n人工费","定额\n机械费","暂估价"]
["1","WB030404005003","交流充电桩","1、名称：CDZ1双充\n2、规格：7.0KW(交流,慢充)\n3、安装方式：壁挂","台","18.000","","","","",""]
["2","WB030404005004","交流充电桩","1、名称：CDZ1单充\n2、规格：3.5KW(交流,慢充)\n3、安装方式：壁挂","台","17.000","","","","",""]
["3","WB030404005001","交流充电桩","1、名称：CDZ1双充\n2、规格：7.0KW(交流,慢充)\n3、安装方式：落地柜式","台","5.000","","","","",""]
["4","WB030404005002","交流充电桩","1、名称：CDZ1单充\n2、规格：3.5KW(交流,慢充)\n3、安装方式：落地柜式","台","5.000","","","","",""]
["5","030408001003","电力电缆","1、型号：WDZ-YJY-1KV-1(3x10)","m","1245.430","","","","",""]
["6","030408001004","电力电缆","1、型号：WDZ-YJY-1KV-1(3x6)","m","1149.670","","","","",""]
["7","030408006003","电力电缆头","1、名称：电缆头\n2、型号：3*10","个","46.000","","","","",""]
["8","030408006004","电力电缆头","1、名称：电缆头\n2、型号：3*6","个","44.000","","","","",""]
["9","030411003001","桥架","1、名称：防火金属桥架\n2、规格：300x200mm\n3、其它：含桥架支吊架制作、安装","m","51.180","","","","",""]
["10","030411003002","桥架","1、名称：防火金属桥架\n2、规格：300*100\n3、其它：含桥架支吊架制作、安装","m","15.250","","","","",""]
["11","030411003003","桥架","1、名称：防火金属桥架\n2、规格：200x100mm\n3、其它：含桥架支吊架制作、安装","m","167.720","","","","",""]
["12","030411003004","桥架","1、名称：防火金属桥架\n2、规格：100x50mm\n3、其它：含桥架支吊架制作、安装","m","19.300","","","","",""]
["13","030408003001","电缆保护管","1、名称：SC32\n2、材质：钢管","m","146.000","","","","",""]
["14","031301017001","脚手架搭拆","本清单所有专业","项","1.000","","","","",""]
[null,null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】","","","","","","","",""]

{"sheet":"3.2 附录F 措施项目清单计价表","index":3,"n_rows":13,"n_cols":6,"rows_kept":13,"merged":[[0,0,0,5],[1,0,1,2],[1,0,1,4],[1,0,1,5],[11,0,11,4],[12,1,12,5]],"flags":["formulas_cached_only"]}
["附录F 措施项目清单与计价表",null,"","","",""]
["工程名称：凡尔赛公馆充地下人防电桩工程",null,"","","",""]
["序号","项目编码","项目名称","计算基础","费率（%）","金额（元）"]
["1","AC-01","夜间施工增加费","","0.500",""]
["2","AC-02","二次搬运费","","1.000",""]
["3","AC-03","冬雨季施工增加费","","0.700",""]
["4","AC-04","已完工程及设备保护费","","0.300",""]
["5","AC-05","工程定位复测费","","0.600",""]
["6","AC-06","非夜间施工照明费","","0.600",""]
["7","AC-07","临时保护设施费","","0.100",""]
["8","AC-08","赶工措施费","","2.500",""]
["合   计",null,"","","",""]
[null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】","","","",""]

{"sheet":"3.3 附录G 不可竞争项目清单与计价表","index":4,"n_rows":10,"n_cols":6,"rows_kept":10,"merged":[[0,0,0,5],[1,0,1,2],[1,0,1,4],[1,0,1,5],[8,0,8,4],[9,1,9,5]],"flags":["formulas_cached_only"]}
["附录G 不可竞争项目清单与计价表",null,"","","",""]
["工程名称：凡尔赛公馆充地下人防电桩工程",null,"","","",""]
["序号","项目编码","项目名称","计算基数","费率（%）","金额（元）"]
["1","AF-01","环境保护费","","1.780",""]
["2","AF-02","文明施工费","","6.100",""]
["3","AF-03","安全施工费","","4.220",""]
["4","AF-04","临时设施费","","4.600",""]
["5","AF-05","环境保护税","","",""]
["合   计",null,"","","",""]
[null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】","","","",""]

{"sheet":"3.4 H.1 其他项目清单与计价汇总表","index":5,"n_rows":9,"n_cols":3,"rows_kept":9,"merged":[[0,0,0,2],[1,0,1,1],[1,0,1,2],[7,0,7,1],[8,1,8,2]],"flags":["formulas_cached_only"]}
["H.1 其他项目清单与计价汇总表",null,""]
["工程名称：凡尔赛公馆充地下人防电桩工程",null,""]
["序号","项目名称","金额(元)"]
["1","暂列金额",""]
["2","专业工程暂估价",""]
["3","计日工",""]
["4","总承包服务费",""]
["合  计",null,""]
[null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】",""]

{"sheet":"3.5 附录I 税金计价表","index":6,"n_rows":6,"n_cols":6,"rows_kept":6,"merged":[[0,0,0,5],[1,0,1,2],[1,0,1,3],[1,0,1,5],[4,0,4,4],[5,1,5,5]],"flags":["formulas_cached_only"]}
["附录I 税金计价表",null,"","","",""]
["工程名称：凡尔赛公馆充地下人防电桩工程",null,"","","",""]
["序号","项目名称","计算基础","计算基数","费率(％)","金额(元)"]
["1","增值税","分部分项工程费+措施项目费+不可竞争费+其他项目费","","9.000",""]
["合  计",null,"","","",""]
[null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】","","","",""]

{"sheet":"3.6 J.3 承包人提供材料（工程设备）一览表","index":7,"n_rows":5,"n_cols":8,"rows_kept":5,"merged":[[0,0,0,7],[1,0,1,3],[1,0,1,5],[1,0,1,7],[3,1,3,7],[4,0,4,7]],"flags":["formulas_cached_only"]}
["J.3 承包人提供材料（工程设备）一览表",null,"","","","","",""]
["工程名称：凡尔赛公馆充地下人防电桩工程",null,"","","","","",""]
["序号","材料（工程设备）名称、规格、型号","计量单位","数量","风险系数(%)","基准单价","投标单价","备注"]
[null,"测评合格编号:2021JS-02【新点2013清单造价V10.0安徽版】","","","","","",""]
["说明：1.此表由投标人在投标时自主确定投标单价，其他内容由招标人填写。\n   2.招标人应优先采用工程造价管理机构发布的单价作为基准单价，未发布的，通过市场调查确定其基准单价。",null,"","","","","",""]